|  | ĀDAŽI MUNICIPALITY COUNCIL BUILDING AUTHORITY Registration No.90000048472, Gaujas iela 33A, Ādaži, Ādažu novads, LV 2164 telephone 67996490, fax 67996076, e-mail buvvalde@adazi.lv |
| --- | --- |

PLANNING AND ARCHITECTURAL TASK No. BV/7-3-1/14/95

for the construction of “Life Support Area” campsite

at the Ādaži National Training Centre

| Issued on 5 September 2014 |  | The State of Latvia – on behalf of the Ministry of Defence of the Republic of Latvia |
| --- | --- | --- |

1. Characterisation of the Land Parcel

| 1.1. | Cadastral designation of the unit (parcel) of land | 8044 005 0053 |
| --- | --- | --- |
| 1.2. | Owner or user of the land parcel | The State of Latvia – on behalf of the Ministry of Defence of the Republic of Latvia |
| 1.3. | Document certifying the ownership rights or rights to use | Land Register certificate Division of the Land Register of the Ādaži municipality No 1000 00015009 |
| 1.4. | Area of the land parcel (ha) | 185.39 ha |
| 1.5. | Location and situation of the land parcel, buildings and structures in the territory thereof (description) | The land parcel is located in the territory of Ādaži National Training Centre |
| 1.6. | Special circumstances (the land parcel is located in a special area of conservation, flood risk territory, territory of a cultural monument or its protection zone) | 73 buildings are located on the land parcel. |
| 1.7. | Permitted use of the land parcel | The land parcel is located in the building zone of public institutions, territory of further study and territory of wood parks. The building design must be drawn up according to the spatial plan of Ādaži municipality (rural territory or pagasts) (including amendments of year 2009). |
| 1.8. | Restrictions (for example, servitudes) | According to the Land Register certificate, land boundary plan. |

2. Conditions for Construction Design Work

| 2.1. | Type of construction (for example, newly erected building, reconstruction, restoration) | Newly erected building |  |
| --- | --- | --- | --- |
| 2.2. | Stage of construction design works | Technical design |  |
| 2.3. | Basic building provisions |  |  |
| 2.3.1. | maximum building intensity | 150% |  |
| 2.3.2. | maximum building density | - |  |
| 2.3.3. | minimum free territory | 10% |  |
| 2.3.4. | maximum number of storeys | 3 |  |
| 2.3.5. | number of parking spaces | According to Sub-paragraph 5.1 of the spatial plan of Ādaži municipality (rural territory or pagasts) (including amendments of year 2009). |  |
| 2.4. | Basic composition conditions | The building design must be drawn up by integrating the scale of construction harmoniously in the surrounding environment. Structures must be designed in a way to ensure access to the environment. |  |
| 2.4.1. | blocking of the structure (for example, free standing building, blocked building) | - |  |
| 2.4.2. | building line (for example, overhanging, deviations from the red line) | Minimum depth of the front yard and minimum width of the external side yard 6.0 m (overhanging). |  |
| 2.4.3. | height restrictions | 12m |  |
| 2.4.4. | drives and entries (for example, from which street) |  | Existing – from Mežaparks road. |
| 2.5. | Basic conditions for building construction design work |  |  |
| 2.5.1. | fireproofness level |  | According to the requirements of LBN 201-10. |
| 2.5.2. | supporting constructions |  | Project solution. |
| 2.5.3. | the act of technical monitoring (for existing structures) |  | - |
| 2.6. | Conditions for external finishing |  |  |
| 2.6.1. | walls |  | Project solution. |
| 2.6.2. | type and cover of the roof |  | Project solution. |
| 2.6.3. | windows and show-cases |  | Project solution. |
| 2.6.4. | doors |  | Project solution. |
| 2.7. | Conditions for arrangement of the territory |  |  |
| 2.7.1. | planting of greenery |  | Project solution. |
| 2.7.2. | fencing |  | According to Sub-paragraph 4.17 of the spatial plan of Ādaži municipality (rural territory or pagasts) (including amendments of year 2009). |
| 2.7.3. | lighting |  | Project solution. |
| 2.7.4. | vertical planning |  | Within the boundaries of the territory concerned. |
| 2.7.5. | surface of carriageways and footpaths |  | Project solution. |
| 2.7.6. | utilisation, processing of building construction waste or permission to utilise a dump |  | - In accordance with the binding regulations No. 29 of 22 November 2011, Waste Management Regulations. - In accordance with the binding regulations No. 30 of 22 October 2013, Binding Regulations Regarding the Tending to Territories and Maintaining Structures in the Territory of Ādaži Municipality. - Prior to receipt of the building permit to enter into a contract regarding waste collection with Ādaži Namsaimnieks Ltd. or another company carrying out waste collection. |
| 2.8. | Environmental accessibility requirements |  | In accordance with the laws and regulations in force. |

3. Technical Provisions

(Connection to Engineering Communications or Crossing Thereof)

| 3.1. | Water supply and sewerage | Existing. If reconstruction of the existing system is provided for in the project, then technical provisions must be received from the holder and manager of the system prior to commencing the design work. |
| --- | --- | --- |
| 3.2. | Streets and roads | - |
| 3.3. | Electricity supply | If capacity must be increased, technical provisions from the joint stock company “Sadales tīkls” must be received prior to commencing the design work. Telephone: 80200403 |
| 3.4. | Gas supply | - |
| 3.5. | Heating supply | Existing. If reconstruction of the existing system is provided for in the project, then technical provisions must be received from the holder and manager of the system prior to commencing the design work. |
| 3.6. | Telecommunications | Existing. If reconstruction of the existing system is provided for in the project, then technical provisions must be received from the holder and manager of the system prior to commencing the design work. |
| 3.7. | Other communications | - |

4. Special Technical Provisions

(Technical Provisions or Requirements Issued by State and Local Government Institutions)

| 4.1. | Environmental and nature protection requirements (regional environmental board of the State Environmental Service) | In accordance with the laws and regulations in force. |
| --- | --- | --- |
| 4.2. | Cultural monument protection requirements (State Inspection for Heritage Protection) | - |
| 4.3. | Requirements of local government institutions | If it is planned that more than 100 people will be present in the structure at the same time, then the design work must be performed in accordance with the laws and regulations in force regarding socially important structures. |
| 4.4. | Other requirements / harmonisation | - The project shall include: • an overview of the fire safety measures; • plan of composite engineering networks to be designed; • calculation of the energy performance of the building. - The project must be harmonised with: • owners of the land concerned; • holders of the engineering communications concerned. |

5. Permits Issued by Local Government Institutions

| 5.1. | Permit for tree felling | - |
| --- | --- | --- |
| 5.2. | Other permits | - |

The design work must be performed on a topographic plan in the co-ordinate system LKS-92, which has been harmonised in the respective institutions and accepted by Mērniecības datu centrs Ltd. according to the Ādaži municipality binding regulations No. 22 of 27 July 2010.

Prior to accepting the project the linked engineering communications must be submitted in digital form (*dwg, *dgn format) to the Ādaži municipality building authority.

The building design must be drawn up in conformity with the construction standards of the Republic of Latvia, the Construction Law and the Ādaži municipality (rural territory or pagasts) spatial plan (including amendments of year 2009). Anyone may become acquainted with the Ādaži municipality (rural territory or pagasts) spatial plan (including amendments of year 2009) and building regulations at the Ādaži municipality building authority and on Ādaži municipality website www.adazi.lv.

The main type of use (function) of the structure according to the Classification of Structures must be indicated on the main page of the building design.

The building design must be drawn up in accordance with Cabinet Regulations No. 112, General Construction Regulations, and LBN 202-01, Content and Drawing up of Building Design.

The Planning and Architectural Task shall be in effect until August 2016.

Spatial planner								Silvis Grīnbergs

Senior specialist of engineering communications networks			Jānis Tiļčiks

Head of the building authority						Dace Medniece

This Planning and Architectural Task may be contested to the administrative dispute commission of Ādaži Municipality Council within 1 (one) month from the moment of its entering into effect.