Republic of Latvia

Cabinet

Regulation No. 402

Adopted 18 September 2001

Procedures for the Completion and Sending of a Safety Data Sheet of a Source of Ionising Radiation

Issued pursuant to

Section 24, Paragraph one of the law On Radiation Safety and Nuclear Safety

1. This Regulation prescribes the procedures for the completion and sending of a safety data sheet of a source of ionising radiation (hereinafter – the safety data sheet) and a sample of the safety data sheet (Annex).

2. Conformity with the Regulation shall be controlled by the Radiation Safety Centre, as well as the State Labour Inspectorate and customs authorities according to their competence.

3. The safety data sheet shall be completed in two copies by a manufacturer, importer, or another person who supplies a source of ionising radiation (hereinafter – the supplier).

4. The safety data sheet shall be completed in the official language if the source of ionising radiation is intended to be used in the territory of the Republic of Latvia. The supplier shall ensure that the safety data sheet of a source of ionising radiation to be imported from foreign countries is translated in the official language.

5. Internationally accepted symbols, markings, and units of measurement shall be used in the safety data sheet.

6. The supplier may adjust the sample of the safety data sheet provided in Annex to this Regulation according to the specific source of ionising radiation.

7. The supplier shall send one copy of the safety data sheet together with the cargo, the other copy of the safety data sheet – by post to an operator, as well as register each operator to which the safety data sheet has been sent, indicating its name, address, telephone number and the given name, surname, and position of the responsible person.

8. If any hazardous properties are detected which have not been indicated in the safety data sheet of a source of ionising radiation, the supplier shall prepare a new safety data sheet marked as “correction”. The supplier shall immediately send the new safety data sheet by post to all operators which are recipients of this source of ionising radiation.

9. An operator shall have the safety data sheet regarding each source of ionising radiation at its disposal. The operator shall notify its workers regarding the information referred to in the safety data sheet. The safety data sheet shall be kept in an easily accessible place.

10. If any activities involving radioactive substances are carried out on the site, and the total radioactivity of which more than one million times exceeds the limits specified in laws and regulations requiring a special permit (licence) or a permit, the operator shall send a copy of the safety data sheet to the relevant local government.

11. If a source of ionising radiation is handed over to another operator, the safety data sheet shall be handed over together with the source of ionising radiation.

Prime Minister								A. Bērziņš

Minister for Environmental Protection and Regional Development		V. Makarovs

Annex

Cabinet Regulation No. 402

18 September 2001

Safety Data Sheet of the Source of Ionising Radiation

1. Identification of the source of ionising radiation:

1.1. the source of ionising radiation

1.2. the date of manufacture

1.3. the code of the source of ionising radiation:

1.3.1. the type and identification number of the source of ionising radiation specified by the manufacturer of the unsealed and sealed source of radiation

1.3.2. the marking, serial number of the series or type of the ionising radiation equipment

1.4. possible uses

2. Information regarding the manufacturer, importer, or another person who supplies the source of ionising radiation:

2.1. the name

the address

the telephone and fax number of the supplier

2.2. the given name, surname, and position of the responsible person

2.3. the contact telephone for consultations and support in the case of an accident

3. Hazard characterisation of the source of ionising radiation:

3.1. for an unsealed and sealed source of radiation and ionising radiation equipment which contains a sealed source of radiation:

3.1.1. the symbol or marking of each radionuclide

3.1.2. the marking of hazard class

3.1.3. the type of ionising radiation and the energy of ionising radiation (MeV) of each type of ionising radiation

3.1.4. the total or specific radioactivity (Bq or Bq/g) and the date of measuring thereof. If specific radioactivity is indicated, the total quantity of radioactive substance shall be indicated as well

3.1.5. the dose rate of ionising radiation (Gy/h or Sv/h) within the distance of one metre or 10 cm and the date of measuring thereof

3.1.6. the physical and biological half life of the radionuclide

3.1.7. the hazardous properties

3.1.8. the physical state

3.1.9. the total quantity of the radioactive substance (in units by mass or volume)

3.1.10. the qualitative and quantitative content of radioactive impurities

3.1.11. the human organ in which the relevant radionuclide accumulates (the critical organ)

3.2. for the ionising radiation equipment which contains a sealed source of radiation:

3.2.1. the dose rate of ionising radiation of the piece of equipment in the off position (Gy/h or Sv/h) and the distance, place, and date of measuring thereof

3.2.2. the dose rate of ionising radiation of the piece of equipment in the on position (Gy/h or Sv/h) and the distance, place, and date of measuring thereof

3.2.3. the additional equipment and devices of the ionising radiation equipment

3.2.4. other technical data of the equipment

3.3. for the ionising radiation equipment which generates ionising radiation but does not contain the radioactive substance:

3.3.1. the type of ionising radiation generated by the equipment

3.3.2. the energy of the generated ionising radiation (MeV)

3.3.3. the dose rate of the generated ionising radiation (Gy/h or Sv/h) and the distance, place, and date of measuring thereof

3.3.4. the beam rate (kW) of the primary ionising radiation and the date of measuring thereof

3.3.5. the electric power (kW)

3.3.6. the additional equipment and devices of the ionising radiation equipment

3.3.7. other technical data of the equipment

4. Description of the first aid measures:

4.1. the first aid equipment necessary at the workplace

4.2. the measures to be taken immediately after exposure of a person to the radioactive content of the source of ionising radiation:

4.2.1. when inhaled

4.2.2. when getting into eyes or on skin

4.2.3. when ingested

4.3. the measures to be taken after exposure of a person to the radioactive content of the source of ionising radiation

5. Description of the measures to be taken in the case of a radiological emergency:

5.1. the description of fire protection and explosion protection measures:

5.1.1. the data regarding explosive properties and fire hazards, methods for the prevention of critical situations

5.1.2. the extinguishing media and equipment for the prevention of a large or small fire

5.1.3. the extinguishing media prohibited for use in view of safety considerations

5.1.4. the hazard caused by a combustible source of ionising radiation, as well as combustion products

5.1.5. the particular protective equipment for firefighters

5.2. the protection measures for bystanders in the case of small or large leakage of radioactive content of the source of ionising radiation:

5.2.1. the procedures for evacuating people at the site of emergency

5.2.2. the use of necessary personal protective equipment for respiratory tract, eyes, skin, and other organs

5.2.3. the delimitation of the site of emergency and the necessary warning signs

5.2.4. the prohibition to touch the source of ionising radiation if the radioactive content thereof has leaked

5.3. the environmental protection measures

5.4. the possible methods for the elimination of consequences of the emergency or the information regarding precautionary measures and indication that consequences of the emergency may only be eliminated by specialists who have received appropriate training

5.5. the methods prohibited for use to eliminate consequences of the emergency

5.6. other measures to be taken in the case of emergency

6. Storage and use of the source of ionising radiation:

6.1. the measures necessary for safe storage of the source of ionising radiation:

6.1.1. the packaging necessary for the storage of the radioactive substance

6.1.2. the packaging material of the source of ionising radiation

6.1.3. the storage conditions (temperature, humidity, pressure)

6.1.4. the quantitative limitations of storage if the quantity of the sources of ionising radiation significantly affects the radiation safety and nuclear safety

6.1.5. the premises, warehouses, or other structures of special construction

6.2. the ventilation, necessary additional equipment, and devices, other measures that guarantee safety of persons when using the source of ionising radiation

7. Safety measures at work:

7.1. the engineering measures:

7.1.1. the requirements for the installation of ionising radiation equipment

7.1.2. the plan for the location of sources of ionising radiation or the flow of radioactive substance

7.1.3. other measures

7.2. the protection against external radiation:

7.2.1. the measuring instruments to be used for the control of ionising radiation

7.2.2. the path of ionising radiation in the air

7.2.3. the protective materials to be used and the ionising radiation attenuation coefficients

7.3. the information regarding parameters subject to special control:

7.3.1. the environmental characteristics critical to the safety of the source of ionising radiation (temperature, pressure, humidity)

7.3.2. the possible radioactive contamination in the air and on the surface where activities involving sources of ionising radiation are carried out under normal working conditions

7.4. the equipment to ensure protection of workers:

7.4.1. the gas masks and filters suitable for the respiratory protection

7.4.2. the gloves of suitable material for hand protection, as well as other additional measures to be taken for the protection of hands and skin

7.4.3. the face shields suitable for the eye protection (protective goggles, face masks)

7.4.4. the personal protective equipment (aprons, suits, boots)

7.5. the necessary hygiene requirements at the workplace (ban on smoking, washing methods)

8. Requirements for safe transportation

9. Information regarding the main laws and regulations governing activities with the relevant source of ionising radiation

10. Other information regarding the relevant source of ionising radiation which is relevant to the radiation safety and nuclear safety, life and health of human or environmental protection

| Date |  |  |
| --- | --- | --- |

| Person responsible for the drawing up of the safety data sheet |  |
| --- | --- |
|  | (signature and full name) |

Minister for Environmental Protection and Regional Development		V. Makarovs